## Sheet1
Lab ID | Sample ID | Depth | Collection Date | Collection Time | Sample Month | Chl-a (ug/L) | SRP (ug P/L) | Total Phosphorus (ug P/L) | Total Nitrogen (mg N/L) | NH4 (mg N/L) | NO3 + NO2 (mg N/L) | DIC (mg C/L) | DOC (mg C/L) | DSi (mg SiO2/L) | Cl- (mg/L) | Comments | TP run date | TN run date | NH4 Run (Range: 0.02-2.0 ppm N as NH4) | NO3 + NO2 Run | SRP run | DIC | DOC | DSi | Cl-
SL001-01 | McCarons | Epi | 2023-06-06 | 1645 | June | 0.42132 | 1.1881 | 17.54 | 0.54641 | 0.029 | 0.0011 | 30.9031 | 6.4996 | 0.6235 | 139.09 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL001-02 | McCarons | Hypo | 2023-06-06 | 1645 | June | NR | 229.5924 | 335.8 | 2.6711 | 1.596 | 0.0022 | 44.6091 | 6.6509 | 8.3979 | 162.94 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL001-03 | Little Johanna | Epi | 2023-06-06 | 1200 | June | 4.8658 | 5.3943 | 43.909 | 0.73158 | 0.0838 | 0.013 | 21.8683 | 8.701 | 1.3135 | 468.36 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL001-04 | Little Johanna | Hypo | 2023-06-06 | 1200 | June | NR | 4032.335 | 5839 | 26.3603 | 20.734 | 0.0033 | 77.2149 | 8.4447 | 12.9438 | 1256.5 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-07-18 | 2023-06-07 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL001-05 | Tanners | Epi | 2023-06-06 | 915 | June | 4.1938 | 2.7939 | 21.017 | 0.69326 | 0.0208 | 0.0055 | 30.6576 | 8.5599 | 0.6569 | 200.47 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL001-06 | Tanners | Hypo | 2023-06-06 | 915 | June | NR | 636.378 | 625.836 | 2.5298 | 0.617 | 0.0553 | 41.8577 | 9.6667 | 8.6906 | 332.44 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL001-07 | Phalen | Epi | 2023-06-06 | 1430 | June | 4.4925 | 2.8265 | 20.308 | 0.69508 | 0.0192 | 0.007 | 35.3914 | 8.1301 | 0.5482 | 198.32 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL001-08 | Phalen | Hypo | 2023-06-06 | 1430 | June | NR | 192.52 | 166.623 | 1.1401 | 0.0318 | 0.0507 | 25.6985 | 8.8785 | 5.1652 | 186.54 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-07 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL002-01 | Cedar | Epi | 2023-06-07 | 1100 | June | 2.874 | 0.6762 | 23.937 | 0.8221 | 0.0158 | 0.0069 | 25.3667 | 8.4406 | 0.5231 | 164.71 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-08 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL002-02 | Bde Maka Ska | Epi | 2023-06-07 | 1345 | June | 0.9288 | 1.05 | 14.2708 | 0.5559 | 0.0301 | 0.0492 | 28.8152 | 6.2893 | 0.2554 | 168.32 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-08 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL002-03 | Brownie | Epi | 2023-06-07 | 900 | June | 9.5871 | 1.5744 | 40.2797 | 0.76346 | 0.0302 | 0.0931 | 29.7448 | 6.6919 | 2.6434 | 324.78 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-08 | 2023-06-08 | 2023-06-08 | 2023-06-19 | 2023-06-20
SL002-04 | Cedar | Hypo | 2023-06-07 | 1100 | June | NR | 166.2587 | 241.573 | 2.5192 | 1.2452 | -0.0014 | 37.0022 | 11.9399 | 4.5169 | 166.56 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-08 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL002-05 | Bde Maka Ska | Hypo | 2023-06-07 | 1345 | June | NR | 130.1975 | 194.075 | 1.1612 | 0.4995 | 0.1257 | 34.1896 | 7.0827 | 2.0244 | 170.69 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-08 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL002-06 | Brownie | Hypo | 2023-06-07 | 900 | June | NR | 3742.311 | 3927.092 | 19.8305 | 19.236 | 0.0055 | 53.9236 | 9.0584 | 11.2166 | 1083.7 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-07-18 | 2023-06-08 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL003-01 | Parkers | Epi | 2023-06-08 | 1315 | June | 3.9001 | 8.2772 | 24.0954 | 0.52317 | 0.0169 | -0.003 | 29.131 | 6.5959 | 0.7782 | 303.76 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-09 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL003-02 | Minnetonka | Epi | 2023-06-08 | 930 | June | 0.080044 | 2.0874 | 14.161 | 0.62293 | 0.0139 | -0.0036 | 25.5496 | 8.7183 | 0.4645 | 52.1 |  | 2023-07-20 | 2023-07-20 | 2023-06-21 | 2023-06-21 | 2023-06-09 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL003-03 | Medicine | Epi | 2023-06-08 | 1500 | June | 1.219 | 3.3948 |  |  | 0.021 | -0.0024 | 54.6881 | 8.7566 | 2.3214 | 202.65 |  |  |  | 2023-06-21 | 2023-06-21 | 2023-06-09 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL003-04 | Parkers | Hypo | 2023-06-08 | 1315 | June | NR | 222.2372 |  |  | 1.0224 | 0.0025 | 54.2179 | 6.3805 | 13.7635 | 721 |  |  |  | 2023-06-21 | 2023-06-21 | 2023-06-09 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL003-05 | Minnetonka | Hypo | 2023-06-08 | 930 | June | NR | 37.8025 |  |  | 0.2231 | 0.0663 | 33.0245 | 8.306 | 5.253 | 51.64 |  |  |  | 2023-06-21 | 2023-06-21 | 2023-06-09 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL003-06 | Medicine | Hypo | 2023-06-08 | 1500 | June | NR | 1007.136 |  |  | 1.6753 | -0.0011 | 39.1608 | 10.388 | 1.142 | 495.24 |  |  |  | 2023-06-21 | 2023-06-21 | 2023-06-09 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL004_01 | Snail | Hypo | 2023-06-13 | 1300 | June | NR | 26.6772 |  |  | 0.1147 | 0.0024 | 26.2157 | 8.1918 | 0.6402 | 106.05 |  |  |  | 2023-06-21 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL004_02 | Wabasso | Hypo | 2023-06-13 | 1015 | June | NR | 119.327 |  |  | 1.5712 | 0.0018 | 32.2124 | 9.9142 | 3.6638 | 69.02 |  |  |  | 2023-06-21 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL004_03 | Snail | Epi | 2023-06-13 | 1300 | June | 2.0891 | 2.1082 |  |  | 0.0198 | 0.0018 | 17.0929 | 8.6899 | 0.3516 | 111.27 |  |  |  | 2023-06-21 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL004_04 | Wabasso | Epi | 2023-06-13 | 1015 | June | 2.0153 | 2.538 |  |  | 0.0249 | 0.0035 | 20.5739 | 9.6898 | 0.6653 | 66.29 |  |  |  | 2023-06-21 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_01 | Smith | Hypo | 2023-06-14 | 1430 | June | NR | 43.6009 |  |  | 0.0967 | 0.0052 | 41.9792 | 8.2092 | 21.3664 | 15.26 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_02 | DUP Smith | Epi | 2023-06-14 | 1430 | June | 0.54643 | 3.1902 |  |  | 0.0174 | 0.0027 | 36.5522 | 8.3253 | 18.6314 | 15.81 |  |  |  | 2023-07-14 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_03 | Henry | Epi | 2023-06-14 | 1700 | June | 3.3158 | 0.9779 |  |  | 0.1841 | 2.5102 | 34.4541 | 8.8027 | 0.3767 | 476.64 |  |  |  | 2023-07-14 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_04 | Henry | Hypo | 2023-06-14 | 1700 | June | NR | 147.234 |  |  | 2.3812 | 0.0348 | 53.0372 | 9.3527 | 4.2744 | 453.32 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_05 | Uhlenkolts | Hypo | 2023-06-14 | 1130 | June | NR | 211.022 |  |  | 1.2831 | 0.005 | 34.09 | 18.8543 | 2.5012 | 33.36 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_06 | Uhlenkolts | Epi | 2023-06-14 | 1130 | June | 6.7809 | 155.4068 |  |  | 0.3951 | 0.0067 | 27.134 | 20.2265 | 2.1666 | 33.45 |  |  |  | 2023-07-14 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL005_07 | Smith | Epi | 2023-06-14 | 1430 | June | 3.9819 | 3.4692 |  |  | 0.0278 | 0.0018 | 32.407 | 9.0991 | 18.3386 | 15.73 |  |  |  | 2023-07-14 | 2023-07-18 | 2023-06-16 | 2023-06-23 | 2023-06-23 | 2023-06-19 | 2023-06-20
SL006_01 | McCarrons | Epi | 2023-07-05 | 1230 | July | 1.4184 | 2.5405 |  |  | 1.0821 | 0.0014 | 29.8028 | 6.7011 | 8.136 | 143.31 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_02 | Snail | Epi | 2023-07-05 | 1855 | July | 2.2812 | 2.9624 |  |  | 0.0155 | 0.0011 | 12.8094 | 9.9778 | 0.4459 | 114.22 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_03 | Snail | Hypo | 2023-07-05 | 1855 | July | NR | 42.3172 |  |  | 0.0403 | 0.0038 |  |  | 0.3902 | 106.88 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_04 | Wabasso | Epi | 2023-07-05 |  | July | 1.272 | 4.2507 |  |  | 0.0148 | 0.0012 | 20.1166 | 9.174 | 0.6559 | 67.05 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_05 | Phalen | Hypo | 2023-07-05 | 1043 | July | NR | 302.9316 |  |  | 0.8782 | 0.0044 |  |  | 5.4783 | 187.67 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_06 | Phalen | Epi | 2023-07-05 | 1043 | July | 4.6877 | 2.1529 |  |  | 0.0185 | 0.0019 | 22.0958 | 8.7204 | 1.1317 | 199.26 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_07 | Little Johanna | Epi | 2023-07-05 | 1441 | July | 45.5281 | 7.8577 |  |  | 0.0639 | 0.0885 | 14.1489 | 9.0969 | 2.9021 | 305.44 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_08 | Little Johanna | Hypo | 2023-07-05 | 1441 | July | NR | 170.5526 |  |  | 27.262 | 0.0048 |  |  | 11.3852 | 1311.4 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_09 | Wabasso | Hypo | 2023-07-05 |  | July | NR | 262.731 |  |  | 1.8179 | 0.0018 |  |  | 3.9437 | 69.22 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_10 | McCarrons | Hypo | 2023-07-05 | 1230 | July | NR | 204.7116 |  |  | 0.0193 | 0.0045 |  |  | 1.2475 | 162.16 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_11 | Medicine | Hypo | 2023-07-06 | 1200 | July | NR | 303.2146 |  |  | 0.3269 | 0.0012 |  |  | 9.9406 | 192.24 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_12 | Minnetonka | Hypo | 2023-07-06 | 912 | July | NR | 20.5254 |  |  | 0.0999 | 0.1014 |  |  | 4.2609 | 51.27 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_13 | Minnetonka | Epi | 2023-07-06 | 912 | July | 1.2246 | 2.6344 |  |  | 0.0175 | 0.0017 | 30.2077 | 8.5207 | 1.4147 | 53.36 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_14 | Medicine | Epi | 2023-07-06 | 1200 | July | 22.236 | 4.6228 |  |  | 0.0206 | 0.0018 | 24.981 | 11.3221 | 5.9756 | 207.49 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_15 | Tanners | Hypo | 2023-07-05 | 810 | July | NR | 163.5484 |  |  | 1.0618 | 0.0066 |  |  | 7.7759 | 264.18 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_16 | Tanners | Epi | 2023-07-05 | 810 | July | 3.7723 | 3.0555 |  |  | 0.0247 | 0.0052 | 30.0172 | 8.5538 | 1.7576 | 204.45 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_17 | DUP Parkers | Epi | 2023-07-06 | 1430 | July | 4.5591 | 3.5024 |  |  | 0.0145 | 0.0015 | 22.0351 | 6.8593 | 2.5806 | 286.44 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_18 | Parkers | Hypo | 2023-07-06 | 1430 | July | NR | 96.021 |  |  | 0.0417 | 0.0024 |  |  | 10.6779 | 519.12 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_19 | Parkers | Epi | 2023-07-06 | 1430 | July | 2.7031 | 3.6209 |  |  | 0.0173 | 0.0034 | 21.9439 | 6.2105 | 2.9578 | 286.5 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_20 | Bde Maka Ska | Hypo | 2023-07-07 | 1145 | July | NR | 204.2994 |  |  | 0.6202 | 0.0041 |  |  | 2.9621 | 164.95 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_21 | Bde Maka Ska | Epi | 2023-07-07 | 1145 | July | 1.1474 | 1.9557 |  |  | 0.0197 | 0.0764 | 27.1944 | 6.1488 | 0.9731 | 171.79 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_22 | Brownie | Hypo | 2023-07-07 | 930 | July | NR | 65.7108 |  |  | 44.384 | 0.0024 |  |  | 17.0564 | 1280.5 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_23 | Brownie | Epi | 2023-07-07 | 930 | July | 52.1861 | 121.2169 |  |  | 0.0227 | 0.0033 | 23.5233 | 7.3706 | 5.7312 | 372.46 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_24 | Cedar | Hypo | 2023-07-07 | 945 | July | NR | 159.3753 |  |  | 0.9127 | 0.0006 |  |  | 5.0754 | 167.18 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL006_25 | Cedar | Epi | 2023-07-07 | 945 | July | 7.4478 | 2.8615 |  |  | 0.014 | 0.0017 | 20.6762 | 8.8331 | 1.4918 | 168.77 |  |  |  | 2023-07-17 | 2023-07-18 | 2023-07-10 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL007_01 | Uhlenkolts | Hypo | 2023-07-11 | 1100 | July | NR | 253.989 |  |  | 0.2104 |  |  |  | 5.2726 | 32.82 |  |  |  | 2023-07-17 |  | 2023-07-13 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL007_02 | Uhlenkolts | Epi | 2023-07-11 | 1100 | July | 129.5801 | 199.829 |  |  | 0.0317 |  | 30.1917 | 17.2197 | 5.1697 | 33 |  |  |  | 2023-07-14 |  | 2023-07-13 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL007_03 | Smith | Hypo | 2023-07-11 | 1703 | July | NR | 84.2076 |  |  | 0.1816 |  |  |  | 22.6335 | 15.44 |  |  |  | 2023-07-17 |  | 2023-07-13 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL007_04 | Smith | Epi | 2023-07-11 | 1654 | July | 35.9515 | 3.65 |  |  | 0.0084 |  | 33.4541 | 9.172 | 21.2404 | 14.82 |  |  |  | 2023-07-14 |  | 2023-07-13 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL007_05 | Henry | Hypo | 2023-07-11 | 1448 | July | NR | 32.8829 |  |  | 1.2018 |  |  |  | 2.2334 | 431.2 |  |  |  | 2023-07-17 |  | 2023-07-13 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL007_06 | Henry | Epi | 2023-07-11 | 1448 | July | 4.7766 | 1.1919 |  |  | 0.115 |  | 31.7449 | 9.2131 | 0.7159 | 470 |  |  |  | 2023-07-14 |  | 2023-07-13 | 2023-08-15 | 2023-09-19 | 2023-07-26 | 2023-07-21
SL008_01 | Smith | Epi | 2023-08-02 | 1450 | Aug |  | 13.5005 | 57.842 | 1.2583 | 0.0083 | -0.0008 | 30.0619 | 8.6457 | 18.0104 | 15.98 | Dsi reran 230816 |  |  | 2023-08-20 | 2023-08-29 | 2023-09-19 | 2023-08-15 | 2023-09-19 | 2023-08-16 | 2023-08-14
SL008_02 | Smith | Hypo | 2023-08-02 | 1450 | Aug |  | 239.5928 | 967.15 | 1.643 | 0.7423 | -0.0004 |  |  | 19.9784 | 16.16 | Dsi reran 230816 |  |  | 2023-08-20 | 2023-08-29 | 2023-09-21 | 2023-08-15 | 2023-09-19 | 2023-08-16 | 2023-08-14
SL008_03 | Henry | Epi | 2023-08-02 | 1300 | Aug |  | 4.616 | 16.4 | 1.6696 | 0.0123 | 0.4772 | 27.9364 | 8.8795 | 0.6705 | 445.6 |  |  |  | 2023-08-20 | 2023-08-29 | 2023-09-19 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL008_04 | Henry | Hypo | 2023-08-02 | 1300 | Aug |  | 4964.312 | 574.882 | 3.8816 | 1.624 | 0.0419 |  |  | 4.1244 | 435.48 |  |  |  | 2023-08-20 | 2023-08-29 | 2023-09-21 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL008_05 | Uhlenkolts | Epi | 2023-08-02 | 950 | Aug |  | 144.6265 | 443.276 | 4.3061 | 0.0176 | 0.0011 | 29.2512 | 16.4599 | 6.4611 | 33.8 |  |  |  | 2023-08-20 | 2023-08-29 | 2023-09-19 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL008_06 | Uhlenkolts | Hypo | 2023-08-02 | 950 | Aug |  | 771.084 | 1493.749 | 6.4602 | 3.2898 | 0.0007 |  |  | 7.0304 | 35.67 |  |  |  | 2023-08-20 | 2023-08-29 | 2023-09-21 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_01 | Bde Maka Ska | Epi | 2023-08-10 | 1400 | Aug |  | 2.4404 | 15.5254 | 0.5446 | 0.0099 | 0.0009 | 24.9281 | 6.8234 | 1.5924 | 171.6 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-11 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_02 | Bde Maka Ska | Hypo | 2023-08-10 | 1400 | Aug |  | 265.335 | 1175.834 | 1.5635 | 0.8056 | 0.0019 |  |  | 3.5552 | 168.55 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-11 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_03 | Cedar | Epi | 2023-08-10 | 906 | Aug |  | 2.006 | 20.0876 | 0.7153 | 0.0226 | 0.002 | 23.5369 | 8.7637 | 1.7666 | 167.53 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-11 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_04 | Cedar | Hypo | 2023-08-10 | 900 | Aug |  | 6.5514 | 356.6896 | 3.7653 | 2.5157 | 0.0018 |  |  | 7.298 | 167.72 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-11 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_05 | Brownie | Epi | 2023-08-10 | 900 | Aug |  | 3.9462 | 28.8589 | 0.6837 | 0.0211 | 0.0014 | 27.3488 | 8.2464 | 7.2046 | 337.7 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-11 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_06 | Brownie | Hypo | 2023-08-10 | 900 | Aug |  | 4043.316 | 667.558 | 23.686 | 16.0599 | 0.0026 |  |  | 16.576 | 1115.5 | Dsi reran 230816 |  |  | 2023-08-26 | 2023-08-29 | 2023-08-11 | 2023-08-15 | 2023-09-19 | 2023-08-16 | 2023-08-14
SL009_07 | Minnetonka | Epi | 2023-08-08 | 900 | Aug |  | 2.3099 | 12.5575 | 0.474 | 0.0086 | 0.0003 | 29.5689 | 8.119 | 1.9407 | 52.99 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_08 | Minnetonka | Hypo | 2023-08-08 | 900 | Aug |  | 77.1373 | 146.1005 | 0.6634 | 0.2375 | 0.0956 |  |  | 7.4128 | 50.7 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_09 | Medicine | Epi | 2023-08-08 | 1115 | Aug |  | 2.7904 | 34.6109 | 0.7878 | 0.0124 | 0.0011 | 21.8199 | 7.6859 | 7.0431 | 211.5 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_10 | Medicine | Hypo | 2023-08-08 | 1115 | Aug |  | 331.2174 | 374.8042 | 1.2523 | 0.4455 | 0.0029 |  |  | 12.1115 | 193.08 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_11 | Parkers | Epi | 2023-08-08 | 1345 | Aug |  | 2.3112 | 22.1865 | 0.5982 | 0.0089 | 0.0003 | 21.4908 | 6.8441 | 2.7352 | 270.92 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_12 | Parkers | Hypo | 2023-08-08 | 1345 | Aug |  | 245.956 | 217.6616 | 1.0531 | 0.8017 | 0.0009 |  |  | 12.4557 | 575.9 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_13 | Snail | Epi | 2023-08-07 | 1400 | Aug |  | 5.2339 | 17.0701 | 0.6918 | 0.0154 | 0.0017 | 12.4433 | 8.5147 | 0.4156 | 116.42 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_14 | Snail | Hypo | 2023-08-07 | 1400 | Aug |  | 62.6306 | 199.5918 | 0.8172 | 0.0621 | 0.0059 |  |  | 1.3884 | 106.58 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_15 | Lil Jo | Epi | 2023-08-07 | 1200 | Aug |  | 21.2706 | 60.5757 | 0.8303 | 0.0884 | 0.1156 | 13.325 | 8.1582 | 2.595 | 121.2 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_16 | Lil Jo | Hypo | 2023-08-07 | 1200 | Aug |  | 6257.352 | 266.5834 | 33.104 | 32.4819 | 0.0091 |  |  | 17.8744 | 1254.7 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_17 | Wabasso | Epi | 2023-08-09 | 830 | Aug |  | 4.8613 | 17.0306 | 0.7886 | 0.0172 | 0.0013 | 21.9128 | 9.2542 | 0.8192 | 66.76 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_18 | Wabasso | Hypo | 2023-08-09 | 830 | Aug |  | 506.0216 | 331.7188 | 2.9077 | 1.761 | 0.0018 |  |  | 4.8042 | 69.53 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_19 | McCarron | Epi | 2023-08-07 | 1500 | Aug |  | 2.2849 | 19.9162 | 0.5878 | 0.0129 | 0.0009 | 28.5263 | 6.6581 | 1.5414 | 139.78 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_20 | McCarron | Hypo | 2023-08-07 | 1500 | Aug |  | 285.6096 | 119.534 | 2.4237 | 2.1742 | 0.0034 |  |  | 8.1945 | 158.87 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_21 | Tanners | Epi | 2023-08-07 | 845 | Aug |  | 3.4338 | 17.1564 | 0.8289 | 0.017 | 0.0011 | 28.6497 | 8.4105 | 2.493 | 199.73 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_22 | Tanners | Hypo | 2023-08-07 | 845 | Aug |  | 1553.5384 | 316.6632 | 3.3528 | 3.1939 | 0.0061 |  |  | 10.2295 | 273.7 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_23 | Phalen | Epi | 2023-08-07 | 1015 | Aug |  | 3.4669 | 12.2703 | 0.6343 | 0.0139 | 0.0024 | 20.0202 | 8.0194 | 1.9492 | 203.26 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_24 | Phalen | Hypo | 2023-08-07 | 1015 | Aug |  | 71.3613 | 99.1259 | 1.3382 | 0.2528 | 0.2821 |  |  | 3.6869 | 185.55 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL009_25 | DUP Medicine | Epi | 2023-08-08 | 1130 | Aug |  | 2.2295 | 23.2683 | 0.6731 | 0.0167 | 0.0028 | 21.8763 | 8.1851 | 6.9114 | 209.03 |  |  |  | 2023-08-26 | 2023-08-29 | 2023-08-09 | 2023-08-15 | 2023-09-19 | 2023-08-15 | 2023-08-14
SL010_01 | Smith | Epi | 2023-09-06 | 1515 | Sep |  | 2.4173 |  |  | 0.0206 | 0.0019 |  |  | 3.3537 | 17.37 |  |  |  | 2023-09-10 | 2023-10-21 | 2023-09-21 |  |  |  | 2023-09-21
SL010_02 | Henry | Epi | 2023-09-06 | 1345 | Sep |  | 7.1019 |  |  | 0.0951 |  |  |  | 1.6179 | 495.84 |  |  |  | 2023-09-10 | 2023-10-21 | 2023-09-21 |  |  |  | 2023-09-21
SL010_03 | Uhlenkolts | Epi | 2023-09-06 | 1000 | Sep |  | 249.3734 |  |  | 0.8361 | 0.0045 |  |  | 8.8593 | 38.99 |  |  |  | 2023-09-10 | 2023-10-21 | 2023-09-21 |  |  |  | 2023-09-21
SL010_04 | Henry | Hypo | 2023-09-06 | 1345 | Sep |  | 385.1154 |  |  | 5.3228 | 0.0163 |  |  | 8.0128 | 472.2 |  |  |  | 2023-09-10 | 2023-10-21 | 2023-09-21 |  |  |  | 2023-09-21
SL010_05 | Smith | Hypo | 2023-09-06 | 1515 | Sep |  | 153.7104 |  |  | 0.0849 | 0.0079 |  |  | 3.4085 | 19.2 |  |  |  | 2023-09-10 | 2023-10-21 | 2023-09-21 |  |  |  | 2023-09-21
SL010_06 | Uhlenkolts | Hypo | 2023-09-06 | 1000 | Sep |  | 268.149 |  |  | 0.7931 | 0.0097 |  |  | 9.6267 | 39.89 |  |  |  | 2023-09-10 | 2023-10-21 | 2023-09-21 |  |  |  | 2023-09-21
SL011_01 | Minnetonka | Epi | 2023-09-11 | 915 | Sep | 4.212 | 2.1554 |  |  | 0.008 | 0.001 |  |  | 2.9334 | 59.91 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_02 | Medicine | Epi | 2023-09-11 | 1130 | Sep | 12.0327 | 13.0307 |  |  | 0.0773 | 0.013 |  |  | 8.4147 | 206.48 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_03 | Parkers | Epi | 2023-09-11 | 1345 | Sep | 11.4766 | 2.2496 |  |  | 0.0089 | 0.0013 |  |  | 5.3026 | 258.64 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL001_04 | Snail | Epi | 2023-09-14 | 830 | Sep | 9.384 | 2.1254 |  |  | 0.0096 | 0.0027 |  |  | 0.2841 | 122.94 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_05 | Little Johanna | Epi | 2023-09-12 | 1200 | Sep | 11.0193 | 3.69 |  |  | 0.0145 | 0.0114 |  |  | 0.7835 | 153.16 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_06 | Wabasso | Epi | 2023-09-12 | 1345 | Sep | 4.7502 | 1.9636 |  |  | 0.0137 | 0.0021 |  |  | 0.9297 | 71.41 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_07 | McCarron | Epi | 2023-09-12 | 1445 | Sep | 8.5403 | 1.0716 |  |  | 0.0082 | 0.0025 |  |  | 1.5205 | 145.94 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_08 | Tanners | Epi | 2023-09-12 | 900 | Sep | 17.8607 | 2.5383 |  |  | 0.0076 | 0.0005 |  |  | 2.3305 | 198.24 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_09 | Phalen | Epi | 2023-09-12 | 1030 | Sep | 3.4145 | 1.4724 |  |  | 0.01 | 0.0022 |  |  | 2.5376 | 208.44 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-22
SL011_10 | Bde Maka Ska | Epi | 2023-09-13 | 1045 | Sep | 6.254 | 0.7214 |  |  | 0.012 | 0.0016 |  |  | 1.8737 | 176.3 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_11 | Cedar | Epi | 2023-09-13 | 930 | Sep | 15.3846 | 1.9777 |  |  | 0.0102 | 0.0033 |  |  | 2.0625 | 165.86 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_12 | Brownie | Epi | 2023-09-13 | 845 | Sep | 95.1717 | 1.8136 |  |  | 0.0051 | 0.005 |  |  | 8.0859 | 348.5 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_13 | Minnetonka | Hypo | 2023-09-11 | 915 | Sep |  | 48.4919 |  |  | 0.2204 | 0.131 |  |  | 7.3063 | 55.16 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_14 | Medicine | Hypo | 2023-09-11 | 1130 | Sep |  | 1610.37 |  |  | 1.1719 | 0.0046 |  |  | 14.566 | 205.6 |  |  |  |  | 2023-10-21 | 2023-09-20 |  |  |  | 2023-09-21
SL011_15 | Parkers | Hypo | 2023-09-11 | 1345 | Sep |  | 98.0438 |  |  | 0.4813 | 0.0051 |  |  | 9.2308 | 491.6 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_16 | Snail | Hypo | 2023-09-14 | 830 | Sep |  | 19.1529 |  |  | 0.0343 | 0.0044 |  |  | 0.345 | 115.88 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_17 | Little Johanna | Hypo | 2023-09-12 | 1200 | Sep |  | 231.688 |  |  | 37.8899 | 0.0052 |  |  | 2.1904 | 1287.9 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_18 | Wabasso | Hypo | 2023-09-12 | 1345 | Sep |  | 111.6087 |  |  | 1.8531 | 0.0025 |  |  | 4.0906 | 75.81 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_19 | McCarron | Hypo | 2023-09-12 | 1445 | Sep |  | 728.6348 |  |  | 4.8186 | 0.0109 |  |  | 10.2479 | 175.6 |  |  |  |  | 2023-10-21 | 2023-09-20 |  |  |  | 2023-09-21
SL011_20 | Tanners | Hypo | 2023-09-12 | 900 | Sep |  | 790.8304 |  |  | 4.1467 | 0.0048 |  |  | 10.4794 | 279.6 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_21 | Phalen | Hypo | 2023-09-12 | 1030 | Sep |  | 449.6166 |  |  | 1.9478 | 0.0067 |  |  | 6.9104 | 193.6 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_22 | Bde Maka Ska | Hypo | 2023-09-13 | 1045 | Sep |  | 316.6995 |  |  | 1.0863 | 0.0074 |  |  | 3.7678 | 173.87 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_23 | Cedar | Hypo | 2023-09-13 | 930 | Sep |  | 138.6435 |  |  | 3.8906 | 0.0055 |  |  | 9.0481 | 165.84 |  |  |  |  | 2023-10-21 | 2023-09-20 |  |  |  | 2023-09-21
SL011_24 | Brownie | Hypo | 2023-09-13 | 845 | Sep |  | 156.736 |  |  | 52.8472 | 0.0078 |  |  | 2.7203 | 1163 |  |  |  |  | 2023-10-21 | 2023-09-19 |  |  |  | 2023-09-21
SL011_25 | DUP Snail | Epi | 2023-09-14 | 900 | Sep | 8.8184 | 2.4562 |  |  | 0.0101 | 0.0027 |  |  | 0.272 | 127.4 |  |  |  |  | 2023-10-21 | 2023-09-20 |  |  |  | 2023-09-21
SL012_01 | Smith | Epi | 2023-10-20 | 1600 | Oct | [8 empty] | 7.1901 | [9 empty] | 2023-11-02
SL012_02 | Henry | Epi | 2023-10-20 | 1400 | Oct | [8 empty] | 2.6456 | [9 empty] | 2023-11-02
SL012_03 | Uhlenkolts | Epi | 2023-10-20 | 945 | Oct | [8 empty] | 11.9654 | [9 empty] | 2023-11-02
SL012_04 | Henry | Hypo | 2023-10-20 | 1400 | Oct | [8 empty] | 2.7001 | [9 empty] | 2023-11-02
SL012_05 | Smith | Hypo | 2023-10-20 | 1600 | Oct | [8 empty] | 7.2614 | [9 empty] | 2023-11-02
SL012_06 | Uhlenkolts | Hypo | 2023-10-20 | 945 | Oct | [8 empty] | 11.9234 | [9 empty] | 2023-11-02
SL013_01 | Minnetonka | Epi | 2023-10-23 | 915 | Oct | [8 empty] | 3.8079 | [9 empty] | 2023-11-02
SL013_02 | Medicine | Epi | 2023-10-23 | 1215 | Oct | [8 empty] | 9.691 | [9 empty] | 2023-11-02
SL013_03 | Parkers | Epi | 2023-10-23 | 1500 | Oct | [8 empty] | 6.7914 | [9 empty] | 2023-11-02
SL013_04 | Snail | Epi | 2023-11-13 | 1020 | Oct
SL013_05 | Little Johanna | Epi | 2023-10-26 | 900 | Oct | [8 empty] | 2.6959 | [9 empty] | 2023-11-02
SL013_06 | Wabasso | Epi | 2023-11-13 | 1200 | Oct
SL013_07 | McCarrons | Epi | 2023-10-26 | 1100 | Oct | [8 empty] | 1.5756 | [9 empty] | 2023-11-02
SL013_08 | Tanners | Epi | 2023-10-24 | 900 | Oct | [8 empty] | 1.9574 | [9 empty] | 2023-11-02
SL013_09 | Phalen | Epi | 2023-10-24 | 1130 | Oct | [8 empty] | 2.4819 | [9 empty] | 2023-11-02
SL013_10 | Bde Maka Ska | Epi | 2023-10-25 | 1230 | Oct | [8 empty] | 1.8147 | [9 empty] | 2023-11-02
SL013_11 | Cedar | Epi | 2023-10-25 | 1000 | Oct | [8 empty] | 2.1966 | [9 empty] | 2023-11-02
SL013_12 | Brownie | Epi | 2023-10-25 | 900 | Oct | [8 empty] | 5.3144 | [9 empty] | 2023-11-02
SL013_13 | Minnetonka | Hypo | 2023-10-23 | 915 | Oct | [8 empty] | 7.7524 | [9 empty] | 2023-11-02
SL013_14 | Medicine | Hypo | 2023-10-23 | 1215 | Oct | [8 empty] | 9.6449 | [9 empty] | 2023-11-02
SL013_15 | Parkers | Hypo | 2023-10-23 | 1500 | Oct | [8 empty] | 16.8498 | [9 empty] | 2023-11-02
SL013_16 | Snail | Hypo | 2023-11-13 | 1020 | Oct
SL013_17 | Little Johana | Hypo | 2023-10-26 | 900 | Oct | [8 empty] | 1.9952 | [9 empty] | 2023-11-02
SL013_18 | Wabasso | HYPO | 2023-11-13 | 1200 | Oct
SL013_19 | McCarrons | Hypo | 2023-10-26 | 1100 | Oct | [8 empty] | 10.7862 | [9 empty] | 2023-11-02
SL013_20 | Tanners | Hypo | 2023-10-24 | 900 | Oct | [8 empty] | 10.417 | [9 empty] | 2023-11-02
SL013_21 | Phalen | Hypo | 2023-10-24 | 1130 | Oct | [8 empty] | 7.018 | [9 empty] | 2023-11-02
SL013_22 | Bde Maka Ska | Hypo | 2023-10-25 | 1230 | Oct | [8 empty] | 4.7059 | [9 empty] | 2023-11-02
SL013_23 | Cedar | Hypo | 2023-10-25 | 1000 | Oct | [8 empty] | 8.6126 | [9 empty] | 2023-11-02
SL013_24 | Brownie | Hypo | 2023-10-25 | 900 | Oct | [8 empty] | 2.7169 | [9 empty] | 2023-11-02
SL013_25 | DUP Parkers | Epi | 2023-10-23 | 1515 | Oct | [8 empty] | 7.0432 | [9 empty] | 2023-11-02
Note on H3: ====== ID#AAAA3PljYJ4 Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on I3: ====== ID#AAAA3PljYKU Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on J3: ====== ID#AAAA3PfoOVE Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P4: ====== ID#AAAA3PfoVrg Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on H5: ====== ID#AAAA3PfoVsc Heather Rankin (2023-08-17 15:36:33) 50x dilution
Note on I5: ====== ID#AAAA3PfoOU8 Heather Rankin (2023-08-17 15:36:33) 40x dilution
Note on J5: ====== ID#AAAA3PljYJk Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on K5: ====== ID#AAAA3PfoVr4 Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on P5: ====== ID#AAAA3PfoVr0 Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on H7: ====== ID#AAAA3PfoVrw Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on I7: ====== ID#AAAA3PljYKQ Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on P7: ====== ID#AAAA3PfoOVU Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on H9: ====== ID#AAAA3PfoOVA Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on I13: ====== ID#AAAA3PljYJ8 Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on H15: ====== ID#AAAA3PljYJY Heather Rankin (2023-08-17 15:36:33) 50x dilution
Note on I15: ====== ID#AAAA3PfoOU0 Heather Rankin (2023-08-17 15:36:33) 40x dilution
Note on J15: ====== ID#AAAA3PfoOUo Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on K15: ====== ID#AAAA3PfoVro Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on M15: ====== ID#AAAA3PfoOVI Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P15: ====== ID#AAAA3PfoOUk Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on P16: ====== ID#AAAA3PljYJs Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on H19: ====== ID#AAAA3PfoVsQ Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P19: ====== ID#AAAA3PfoOUw Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on H21: ====== ID#AAAA3PljYJc Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on P21: ====== ID#AAAA3PljYKM Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on H23: ====== ID#AAAA3PljYJU Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P28: ====== ID#AAAA3PfoVrk Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on K29: ====== ID#AAAA3PfoVsE Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P29: ====== ID#AAAA3PfoOU4 Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on H30: ====== ID#AAAA3PfoOVQ Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on X35: Amelia Wilson-Jackson: Only EPI
Note on Y35: Amelia Wilson-Jackson: Only EPI
Note on P39: ====== ID#AAAA3PljYKA Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on H40: ====== ID#AAAA3PfoVr8 Heather Rankin (2023-08-17 15:36:33) Reanalyze to confirm result, depending on TP concentration
Note on K40: ====== ID#AAAA3PljYJo Heather Rankin (2023-08-17 15:36:33) 20x dilution
Note on P40: ====== ID#AAAA3PfoVsM Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on P47: ====== ID#AAAA3PljYKE Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P49: ====== ID#AAAA3PfoOVM Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P50: ====== ID#AAAA3PljYJg Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on P51: ====== ID#AAAA3PfoOUs Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on H54: ====== ID#AAAA3PljYKI Heather Rankin (2023-08-17 15:36:33) reanalyze to confirm result, depending on TP concentration
Note on K54: ====== ID#AAAA3PljYJ0 Heather Rankin (2023-08-17 15:36:33) 20x dilution
Note on P54: ====== ID#AAAA3PljYJw Heather Rankin (2023-08-17 15:36:33) 10x dilution
Note on P55: ====== ID#AAAA3PfoVrs Heather Rankin (2023-08-17 15:36:33) 2x dilution
Note on P62: ====== ID#AAAA3PfoVsI Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on P63: ====== ID#AAAA3PfoVsY Heather Rankin (2023-08-17 15:36:33) 4x dilution
Note on O64: ====== ID#AAAA306ykT0 Amelia Wilson-Jackson (2023-09-05 21:42:35) 8x
Note on H65: Kelsey Boeff: 4x dil
Note on I65: Kelsey Boeff: 5x dil
Note on O65: ====== ID#AAAA306ykTk Amelia Wilson-Jackson (2023-09-05 21:42:35) 8x
Note on P66: ====== ID#AAAA4gkoOvE Amelia Wilson-Jackson (2023-08-31 17:50:04) 4x
Note on H67: Kelsey Boeff: 40x dil
Note on I67: Kelsey Boeff: 4x dil
Note on P67: ====== ID#AAAA4gkoOvY Amelia Wilson-Jackson (2023-08-31 17:50:04) 4x
Note on I68: Kelsey Boeff: 4x dil
Note on K68: Listed as non-detect because 4x dilution. ======
Note on H69: Kelsey Boeff: 8x dil
Note on I69: Kelsey Boeff: 10 x dil
Note on J69: Kelsey Boeff: 2x dil
Note on K69: 4x dilution ======
Note on I71: Kelsey Boeff: 10X DIL
Note on K72: 2x dilution ======
Note on I73: Kelsey Boeff: 2X DIL
Note on K73: 3x dilution ======
Note on H74: ====== ID#AAAA306ykTY Amelia Wilson-Jackson (2023-09-05 21:42:35) Re-analyze to confirm
Note on H75: ====== ID#AAAA306ykTo Amelia Wilson-Jackson (2023-09-05 21:42:35) 40x
Note on I75: Kelsey Boeff: 4X DIL
Note on J75: Kelsey Boeff: 10X DIL
Note on K75: 30x dilution ======
Note on O75: ====== ID#AAAA306ykTg Amelia Wilson-Jackson (2023-09-05 21:42:35) 8x
Note on P75: ====== ID#AAAA4gkoOu8 Amelia Wilson-Jackson (2023-08-31 17:50:04) 10x
Note on H79: ====== ID#AAAA306ykTs Amelia Wilson-Jackson (2023-09-05 21:42:35) 2x
Note on I79: Kelsey Boeff: 2X DIL
Note on P79: ====== ID#AAAA4gkoOvg Amelia Wilson-Jackson (2023-08-31 17:50:04) 4x
Note on P80: ====== ID#AAAA4gkoOvk Amelia Wilson-Jackson (2023-08-31 17:50:04) 4x
Note on H81: ====== ID#AAAA306ykT4 Amelia Wilson-Jackson (2023-09-05 21:42:35) 2x
Note on I81: Kelsey Boeff: 2X DIL
Note on P81: ====== ID#AAAA4gkoOvM Amelia Wilson-Jackson (2023-08-31 17:50:04) 10x
Note on I83: Kelsey Boeff: 2X DIL
Note on P84: ====== ID#AAAA4gkoOvQ Amelia Wilson-Jackson (2023-08-31 17:50:04) 10x
Note on H85: ====== ID#AAAA306ykT8 Amelia Wilson-Jackson (2023-09-05 21:42:35) 40x
Note on I85: Kelsey Boeff: 2X DIL
Note on J85: Kelsey Boeff: 20X DIL
Note on K85: 25x dilution ======
Note on O85: ====== ID#AAAA306ykTc Amelia Wilson-Jackson (2023-09-05 21:42:35) 4x
Note on P85: ====== ID#AAAA4gkoOvc Amelia Wilson-Jackson (2023-08-31 17:50:04) 10x
Note on K86: 2x dilution (this is why it's marked as "non-detect") ======
Note on I87: Kelsey Boeff: 2X DIL
Note on K89: 3x Dilution ======
Note on K90: 2x dilution (this is why it's marked as "non-detect") ======
Note on H91: ====== ID#AAAA306ykTw Amelia Wilson-Jackson (2023-09-05 21:42:35) 4x
Note on I91: Kelsey Boeff: 2X DIL
Note on J91: Kelsey Boeff: 2X DIL
Note on K91: 3x dilution ======
Note on P91: ====== ID#AAAA4gkoOvA Amelia Wilson-Jackson (2023-08-31 17:50:04) 10x
Note on P92: ====== ID#AAAA4gkoOvI Amelia Wilson-Jackson (2023-08-31 17:50:04) 2x
Note on P94: ====== ID#AAAA4gkoOvU Amelia Wilson-Jackson (2023-08-31 17:50:04) 2x
Note on K95: ====== ID#AAAA4ZefVO4 Erin Mortenson (2023-09-16 15:24:52) 2x dilution due to matrix interference.
Note on O95: Kelsey Boeff: 8x dilution
Note on P96: Kelsey Boeff: 2x dilution
Note on H97: Kelsey Boeff: 2x dil
Note on H98: Kelsey Boeff: 2x dil
Note on K98: ====== ID#AAAA4ZefVO8 Erin Mortenson (2023-09-16 15:26:37) 10x (9.91) dilution - average of triplicate run.
Note on P98: Kelsey Boeff: 4x dilution
Note on L99: Kelsey Boeff: 4x dil
Note on O99: Kelsey Boeff: 8x dilution
Note on H100: Kelsey Boeff: 2x dil
Note on P102: Kelsey Boeff: 2x dilution
Note on P103: Kelsey Boeff: 4x dilution
Note on P105: Kelsey Boeff: 4x dilution
Note on P108: Kelsey Boeff: 2x dilution
Note on P109: Kelsey Boeff: 2x dilution
Note on P111: Kelsey Boeff: 2x dilution
Note on P112: Kelsey Boeff: 10x dilution
Note on H114: Kelsey Boeff: 10x dil
Note on P114: Kelsey Boeff: 4x dilution
Note on H115: Kelsey Boeff: 2x dil
Note on P115: Kelsey Boeff: 10x dilution
Note on H117: Kelsey Boeff: 40x dil
Note on K117: Kelsey Boeff: 45x
Note on O117: Kelsey Boeff: 8x dilution
Note on P117: Kelsey Boeff: 10x dilution
Note on H119: Kelsey Boeff: 4x dil
Note on K119: Kelsey Boeff: 4x
Note on H120: Kelsey Boeff: 4x dil
Note on K120: Kelsey Boeff: 4x
Note on P120: Kelsey Boeff: 4x dilution
Note on K123: Kelsey Boeff: 4x
Note on P123: Kelsey Boeff: 2x dilution
Note on H124: Kelsey Boeff: 40x dil
Note on K124: Kelsey Boeff: 45x
Note on O124: Kelsey Boeff: 8x dilution
Note on P124: Kelsey Boeff: 10x dilution
Note on P125: Kelsey Boeff: 10x dilution
Note on O126: Kelsey Boeff: 4x dil
Note on O130: Kelsey Boeff: 4x dilution
Note on O148: Kelsey Boeff: 8x dilution
Note on O155: Kelsey Boeff: 8x dilution